Month: ___________________            Area / Location: _________________________________   Frequency: _________________

Inspection Guideline : (1) Inspection frequency maintains is responsibility of designate person. (2) Inspect Air conditioner as per Capacity Ton & Tick mark.

| INSPECTION | A.C. |  |  |  |  | Capacity (Area Cover) | OBSERVATION |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1T | 1.5T | 2T | 4T | G |  |  |  |
| Unit should be clean & dust free, in side as well as out side of the Air conditioner |  |  |  |  |  |  |  |  |
| General condition of the unit |  |  |  |  |  |  |  |  |
| Unit number, Serial number, identification numbers clearly and legibly. |  |  |  |  |  |  |  |  |
| Check whether excessive noise by unit |  |  |  |  |  |  |  |  |
| Check whether excessive vibration by unit |  |  |  |  |  |  |  |  |
| Condensate directed away from unit |  |  |  |  |  |  |  |  |
| Air conditioner at safe position & location? |  |  |  |  |  |  |  |  |
| Whether deployed Cover or guards in at place? |  |  |  |  |  |  |  |  |
| Screws, nuts and bolts in place |  |  |  |  |  |  |  |  |
| Plug, wiring and cables safe in good condition |  |  |  |  |  |  |  |  |
| Filter should be clean and without any damage |  |  |  |  |  |  |  |  |
| Compressor of the Air conditioner is working properly? Is there extra noise? Un expectable behavior noted? |  |  |  |  |  |  |  |  |
| Thermostat functioning |  |  |  |  |  |  |  |  |
| Controls & switches in working condition |  |  |  |  |  |  |  |  |
| Is there any evidence found of gas leakage? |  |  |  |  |  |  |  |  |
| INSPECTORS NAME & SIGNATURE |  |  |  |  |  |  | SAFETY OFFICER SINGATURE | ENVIRONMENT HEALTH & SAFETY – MANAGER |

- A.C. = Air Conditioner

- #T = # Ton

- G = General A.C.