| SR | CHECKLIST POINT |  | EVIDENCE |  | CORRECTIVE ACTIONS | STATUS |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Is there all the measuring devices having a individual calibration calendar? Schedule? Check the calibration schedule and last date of updated. |  |  |  |  |  |
| 02 | Is the measuring devices are listing in sheet? List of measuring device is available? Updated? Kindly check the measuring device list, any record information on measuring device having tagged? , what is the tag number? |  |  |  |  |  |
| 03 | Check whether all the equipment is properly calibrated? Take as any measuring devices for the verification. |  |  |  |  |  |
| 04 | Is there implementation in records, tags are available? |  |  |  |  |  |
| 05 | What the procedure for failure measuring devices? Is there proper maintenance & its information is available? What is the method for the withdrawn of the measuring devices from process? It’s there failed measuring devices are records in any register? Evidence is available? |  |  |  |  |  |
| 06 | Is there measuring device calibration are down in in-house or by external agency, if partly or full calibration process are done internally, Whether calibration procedure are available? |  |  |  |  |  |
| 07 | How to traceable measuring devices? Is there standard system is operating? |  |  |  |  |  |
| 08 | Whether Calibration lab is certified with international standard requirements? |  |  |  |  |  |
| 09 | Is there training for calibration are provided to calibration technicians? Calibration training certifications of approvals are available? |  |  |  |  |  |
| Auditor Name |  | Signature |  | Auditee |  | Signature |